## Sheet1
Per CS documentation, here formula used to determine minimum sample volumes:
Each chemistry slide uses 10 and each electrolyte slide uses 11 .
Buffer: Add 80 (30 for hydraulic/metering buffer + 50 for instrument alignment/consumable positioning variability)
Example: Chem17 and Lyte4 = 140 (14 chemistry slides) + 33 (3 electrolyte slides) + 30 buffer + 50 variability = 253 total
**Bile Acids is handled slightly differently, in that the buffer of 30 ul is completely consumed by Bile Acids (within the 100 ul) and will not be shared with other chemistries
Assay (column E) = Volume Requested (column B) - Metering (30) - Instrument Variability (50)
Consumable | Volume Requested (slides+buffer+variability) | Slide Volume | Standard per assay volume needs
Chem17 | 220 | 140 | Ortho Slides = 10 uL each*
Chem15 | 200 | 120 | * vAST = 7 uL
Equine15 | 200 | 120 | * PHBR = 7 uL
Chem10 | 150 | 70 | CRP = 10 uL
QC6 | 140 | 60 | TT4 = 28 uL
NSAID6 | 130 | 50 | SDMA = 28 uL
Lyte4 | 113 | 33 | COMBO = 28 uL
UPC | 100 | 20 | PROG = 28 uL
PHBR | 87 | 7 | BA = 75 uL
FRU | 90 | 10 | FRU = 6 uL
SINGLE SLIDE | 90 | 10
Chem17+Lyte4 | 253 | 173
Chem15+Lyte4 | 233 | 153
Equine15+Lyte4 | 233 | 153
Chem10+Lyte4 | 183 | 103
QC6+Lyte4 | 173 | 93
NSAID6+Lyte4 | 163 | 83
Single+Lyte4 | 123 | 43
Chem17+Lyte4+2 Singles | 273 | 193
BILE ACIDS * | 125 | 75
TT4 * | 78 | 28
SDMA * | 78 | 28
Combo(T4 SDMA) * | 78 | 28
CRP | 90 | 10
CRP + TT4 * | 88 | 38
PROG * | 85 | 35
Chem17+Lyte4+COMBO | 281 | 201
* No Metering buffer required